## 23
Name: | Data Instr INSTR 12/24/2020 09:50:58
Owner: | User
Comments:
Acquisition Date: | 2020-12-24 09:51
&Instrument: | 34970A | Address: | ASRL4::INSTR | Modules: | 1 | Slot2: | 34901A
Total Channels: | 4
Channel | Name | Function | Range | Resolution | AdvSettings | Scale | Gain | Offset | Label | Test | Low | High | HWAlarm
202 | ENVIRONMENT | Temp (Type J) | None | C | Temp (Type J)#1#0.016#Auto#0.001#C#Internal#0#false | FALSE | 1 | 0 | C | Off | 0 | 1 | Alarm 1
203 | 1 POINT | Temp (Type J) | None | C | Temp (Type J)#1#0.016#Auto#0.001#C#Internal#0#false | FALSE | 1 | 0 | C | Off | 0 | 1 | Alarm 1
204 | 2 POINT | Temp (Type J) | None | C | Temp (Type J)#1#0.016#Auto#0.001#C#Internal#0#false | FALSE | 1 | 0 | C | Off | 0 | 1 | Alarm 1
205 | 3 POINT | Temp (Type J) | None | C | Temp (Type J)#1#0.016#Auto#0.001#C#Internal#0#false | FALSE | 1 | 0 | C | Off | 0 | 1 | Alarm 1
Scan Control: | Start Action: | Immediately | Stop Action: | User Terminated
Scan | Time | 202 <ENVIRONMENT> (C) | Alarm 202 | 203 <1 POINT> (C) | Alarm 203 | 204 <2 POINT> (C) | Alarm 204 | 205 <3 POINT> (C) | Alarm 205
1 | 24.12.2020 09:50:58:516 | 26.806 | 0 | 26.404 | 0 | 59.211 | 0 | 26.394 | 0
2 | 24.12.2020 09:51:58:500 | 26.825 | 0 | 25.087 | 0 | 59.746 | 0 | 25.547 | 0
3 | 24.12.2020 09:52:58:500 | 27.069 | 0 | 24.888 | 0 | 60.162 | 0 | 25.309 | 0
4 | 24.12.2020 09:53:58:500 | 26.973 | 0 | 24.863 | 0 | 58.936 | 0 | 25.769 | 0
5 | 24.12.2020 09:54:58:500 | 27.111 | 0 | 24.937 | 0 | 57.91 | 0 | 25.25 | 0
6 | 24.12.2020 09:55:58:500 | 26.998 | 0 | 24.651 | 0 | 57.919 | 0 | 25.033 | 0
7 | 24.12.2020 09:56:58:500 | 27.132 | 0 | 24.749 | 0 | 59.129 | 0 | 2020-07-25 | 0
8 | 24.12.2020 09:57:58:500 | 27.138 | 0 | 24.849 | 0 | 59.504 | 0 | 25.281 | 0
9 | 24.12.2020 09:58:58:500 | 27.297 | 0 | 24.883 | 0 | 59.797 | 0 | 25.373 | 0
10 | 24.12.2020 09:59:58:500 | 27.293 | 0 | 24.743 | 0 | 60.068 | 0 | 25.371 | 0
11 | 24.12.2020 10:00:58:500 | 27.458 | 0 | 24.773 | 0 | 60.225 | 0 | 25.357 | 0
12 | 24.12.2020 10:01:58:500 | 27.394 | 0 | 25.007 | 0 | 59.967 | 0 | 25.384 | 0
13 | 24.12.2020 10:02:58:500 | 27.253 | 0 | 25.227 | 0 | 59.555 | 0 | 25.403 | 0
14 | 24.12.2020 10:03:58:500 | 27.171 | 0 | 25.535 | 0 | 59.917 | 0 | 25.491 | 0
15 | 24.12.2020 10:04:58:500 | 27.218 | 0 | 25.185 | 0 | 60.02 | 0 | 25.479 | 0
16 | 24.12.2020 10:05:58:500 | 27.344 | 0 | 25.81 | 0 | 60.011 | 0 | 25.496 | 0
17 | 24.12.2020 10:06:58:500 | 27.151 | 0 | 25.625 | 0 | 60.156 | 0 | 25.538 | 0
18 | 24.12.2020 10:07:58:500 | 27.118 | 0 | 26.049 | 0 | 60.321 | 0 | 25.573 | 0
19 | 24.12.2020 10:08:58:500 | 27.312 | 0 | 25.462 | 0 | 60.357 | 0 | 25.455 | 0
20 | 24.12.2020 10:09:58:500 | 27.401 | 0 | 25.398 | 0 | 60.426 | 0 | 25.434 | 0
21 | 24.12.2020 10:10:58:500 | 27.336 | 0 | 25.153 | 0 | 60.409 | 0 | 25.459 | 0
22 | 24.12.2020 10:11:58:500 | 27.327 | 0 | 25.061 | 0 | 60.083 | 0 | 25.262 | 0
23 | 24.12.2020 10:12:58:500 | 27.424 | 0 | 25.271 | 0 | 60.212 | 0 | 25.134 | 0
24 | 24.12.2020 10:13:58:500 | 27.398 | 0 | 25.249 | 0 | 60.254 | 0 | 25.039 | 0